ARC/Condor on Centos 7, UMD4

# Introduction

For the attention of Govind Songara.

We've built a test cluster at Liverpool using ARC/Condor with the Centos7 operating system, and UMD4. The new configurations are derived from the SL6 versions[1]. I hope to give enough additional information to allow a site to migrate their software to Centos7 and update its middleware to take advantage of fixes or new features.

This work is largely based on some home-grown Puppet/Hiera modules. You'll need to get them out of my github account as follows.

# git clone https://github.com/sjones-hep-ph-liv-ac-uk/arc_condor_c7.git

Obviously, every site is different, so I leave out a lot of assumptions about how you apply the base operating system, firewall rules, network settings and so on. There are just too many variables to cope with. And I'm sure this work contains some errors, duplication and misunderstandings. I have only myself to blame for that. As I go through the work, I can see zillions of things that need to be tidied up. Basically, I just cut my way through this with a machete, so it's very messy. I need to spend a month or more making it beautiful and able to be reused. It is what it is. Good luck.

# Preliminary notes on infrastructure.
All the systems use this version of Linux.

# cat /etc/redhat-release
CentOS Linux release 7.4.1708 (Core)

At Liverpool, we use two head-nodes, a central manager and a slave, each running ARC and Condor. But one of them, the slave system, only runs a subset of the Condor daemons, and passes its jobs over to the central manager to actually manage the work. It is only necessary to have one head-node, so I recommend at first that you ignore/delete references and/or configuration of the slave system in this document or in any examples. You can always configure the slave system later.

Our head-nodes, which are virtual, have two network connections; one is internal, locally addressed, the other is internet facing, globally addressed. We have one physical worker node with one local network connection. Hence the set-up is:

### Central Manager
Global Name/IP: hepgrid6.ph.liv.ac.uk/138.253.178.106
Local Name/IP: igrid6.ph.liv.ac.uk/192.168.178.106
10GB RAM, 5 core

### Slave (for redundancy; not necessary at first or ever)
Global Name/IP: hepgrid10.ph.liv.ac.uk/138.253.178.110
Local Name/IP: igrid10.ph.liv.ac.uk/192.168.178.110
10GB RAM, 5 core

### Worker-node
Local Name/IP: r26-n15.ph.liv.ac.uk/192.168.26.15
16GB RAM, 8 core

## Puppet Hiera Set-up
It is not necessary to use (say) Puppet to build the systems, but we do here at Liverpool. The general way we set Puppet/Hiera up, and the way we use node and nodetype definitions, is given in [2]. Since much of the work is done in puppet modules, it is necessary to at least understand how Puppet works so you can read the modules.
Here, I'll discuss the more specific details used at Liverpool which apply to ARC/Condor. The modules and basic node/nodetype definitions are accessible via GitHub, described above. Down load them and “cd arc_condor_c7/puppet/environments/production/hiera”. From there, the structure of the Heira definitions is:
./nodetype/condor_c7-L5420.yaml
./nodetype/arc_condor_c7.yaml
./node/hepgrid6.ph.liv.ac.uk.yaml
./node/r26-n15.ph.liv.ac.uk.yaml
./node/hepgrid10.ph.liv.ac.uk.yaml
Let's have a look at these things, starting with the nodetype definitions.
### arc_condor_c7.yaml
This nodetype is for any headnode. It defines some Yum repositories. And it “executes” all the required puppet modules for the build; repos_c7, grid_users, arc_condor_runtime_c7, grid_hosts, liv_gridcerts, arc_svr_c7, condor_svr_c7, arc_arguscli_c7 and arc_condor_common_c7. These are all fully identified in the Build Sequence, below.
### condor_c7-L5420.yaml
This nodetype is for any “L5420” XEON workernode. It is similar in structure, but has extra elements that are interesting. It defines some yum repositories, and “executes” the puppet modules needed. In addition, some parameters are defined, for both cvmfs (e.g. squids) and for the module that installs condor (mostly related to slots and other config options.) The modules that are applied comprise grid_hosts, grid_users, arc_condor_runtime_c7, cvmfs, condor_wn_c7, testnodes, and again they are all identified in the appropriate Build Sequence below.
Next, I'll look at the actual node definitions, which use (i.e. are assigned) a nodetype from those listed above.
### hepgrid6.ph.liv.ac.uk.yaml
This conducts the build of a specific head-node; the Central Manager. It defines the general nodetype, arc_condor_c7, to use for this particular headnode and some parameters for the various modules that are used in that nodetype. In this case, the parameters are:
# The arc server for this head-node
arc_svr_c7::params::arc_server_c7: 'hepgrid6.ph.liv.ac.uk'
# The condor daemons to run on this head-node
condor_svr_c7::params::condor_daemon_list: 'COLLECTOR, MASTER, NEGOTIATOR, SCHEDD '
### r26-n15.ph.liv.ac.uk.yaml
This conducts the build of a specific worker-node. It defines the general nodetype, condor_c7-L5420, to use and some parameters for the various modules that are used in that nodetype. In this case, the parameters are:
# The central manager this worker node will work for
condor_wn_c7::params::central_manager: "igrid6"
# The CEs known to this worker node
condor_wn_c7::params::theCEs: "condor_pool@ph.liv.ac.uk/igrid6,condor_pool@ph.liv.ac.uk/igrid10"
# Building the head-node

I'll describe the build for the central manager, which is the only head-node necessary at first. Ignore references to the slave. At this point, I assume you have configured with an OS a system similar to Central Manager above, and that it is running the right version of Centos 7.

## Software Repositories

As well as the CentOS system repos etc, many other Yum software repositories are required to build this head-node. Below I show the name, purpose and url of each repository file we used. Note that repos hosted on map2.ph.liv.ac.uk are static copies (that we use at Liverpool for control reasons) of public repos. You'll have to find the real repos on the Internet, but there should be sufficient information to allow that in the names I have chosen. Some of the repos (all?) are installed by the Puppet modules or the Hiera yaml files that are covered in this document.

Yum repo file: nordugrid5.repo
Purpose: ARC code. A local copy of download.nordugrid.org/...
baseurl=http://map2.ph.liv.ac.uk/yum/pub/download.nordugrid.org/repos/15.03/centos/el7/x86_64/base

Yum repo file: nordugrid5-updates.repo
Purpose: ARC code. A local copy of download.nordugrid.org/...
baseurl=http://map2.ph.liv.ac.uk/yum/pub/download.nordugrid.org/repos/15.03/centos/el7/x86_64/updates

Yum repo file: condor_repo_for_centos_7.repo
Purpose: A local copy of the HTCondor software (search up.)
baseurl=http://map2.ph.liv.ac.uk/yum/pub/research.cs.wisc.edu/htcondor/yum/stable/rhel7

Yum repo file: yum_umd_4_centos7_x86_64_base.repo
Purpose: A local copy of UMD4 (search up .)
baseurl=http://map2.ph.liv.ac.uk//yum/umd/4/centos7/x86_64/base

Yum repo file: yum_umd_4_centos7_x86_64_updates.repo
Purpose: A local copy of UMD4 (search up .)
baseurl=http://map2.ph.liv.ac.uk//yum/umd/4/centos7/x86_64/updates

Yum repo file: epel.repo
Purpose: A local copy of the famous “epel” repository (search up on Internet.)
baseurl=http://map2.ph.liv.ac.uk/yum/ONLINE/pub/epel/7/$basearch

Yum repo file: local.repo
Purpose: Contains a local copy of HEP_Oslibs.x86_64 (search up.)
baseurl=http://map2.ph.liv.ac.uk/yum/local/rhel/7/x86_64

Yum repo file: CA.repo
Purpose: A local copy of the CAs (search up .)
baseurl=http://map2.ph.liv.ac.uk/yum/EGI-CAs/current

Yum repo file: RPMS.voms.repo
Purpose: Provides RPMs of VOMS records (vomsdir etc.). It is part of the Approved VOs process.
baseurl=http://hep.ph.liv.ac.uk/~sjones/RPMS.voms/

Yum repo file: sysadmin.hep.ac.uk.repo
Purpose: A local copy of www.sysadmin.hep.ac.uk/rpms/fabric-management/RPMS.vomstools/
baseurl=http://map2.ph.liv.ac.uk/yum/pub/www.sysadmin.hep.ac.uk/rpms/fabric-management/RPMS.vomstools/
## Build sequence
The build sequence is just a set of puppet modules, applied one after the other in any order you like.
### Make the grid users on the head node

We use a tool to do this at Liverpool, wrapped in a Puppet module. The module is called grid_users. You can obtain all the puppet modules via my GitHub account, as detailed above. Even if you don't use puppet, I recommend to use this method to make the users. There is a script inside the puppet module and some data files that make the grid users. It's quite obvious how to work it. It is much quicker than Yaim or anything like that, and it uses the standard users.conf file that you can obtain from your old Yaim config files (the format is the same, but Yaim is not used).

### Install the grid certificates
The module for this is called liv_gridcerts. You'll have to update it for your site with the right names and certificates.

### Get some YUM repositories
A module exists called repos_c7 that puts some/most/all of the Yum repositories mentioned above on the node.
### Install ARC
The module for this is called arc_svr_c7. You must remember that this module makes use of a file (called a template, or .erb file) that contains a parameter that must be obtained by Hiera and substituted in. The process/set-up for all this is documented[2]. In this case, the parameter is <%= @arc_server_c7 %>. If you are not using Puppet/Hiera, you'll have to make the changes by hand. If you are using Puppet/Hiera, the value is obtained by looking it up in the Hiera hierarchy. There is a default value (hepgrid6.ph.liv.ac.uk) in the params.pp file contained in the module manifests directory.

### Make the runtime settings
The module for this is called arc_condor_runtime_c7. It installs a set of directories that ARC uses to simulate GLITE tag files, and sets some runtime shell variables for the job, e.g. the default SE and software area/cvmfs location for various VOs.

### Install Condor
The module for this is called condor_svr_c7. This is derived from the module covered in depth in ref [2]. This is the most complicated module. It installs a fair shares file (11fairshares.config) that you'll have to adapt for your site. It has configuration to control Condor accounting groups, that you need to understand. The Example Build for SL6[1] has info on that. It installs a pool password. Again, see the example build, or the Condor admin manual. The module also installs a yum repo, lots of files, dirs, scripts, the condor package itself, and (most importantly) the condor_config.local file. The condor_config.local is a template. It uses a Hiera parameter to define <%= condor_daemon_list %>. On the Central Manager, this is COLLECTOR, MASTER, NEGOTIATOR, SCHEDD. If you use a slave (as we do in Liverpool) the list is just MASTER, SCHEDD (SCHEDD is the submission queue daemon, by the way.)

The condor_config.local contains hard coded IP addresses for our head-node machines and worker node ranges. You'll have to edit that to make it fit your site. I should use parameters for this really.

You'll have to generate your own pool_password, since the one in the module is just a dummy. See the Condor admin manual.

### Install the ARGUS Client
Our set-up uses ARGUS to authenticate users. The module to use for an ARGUS client is arc_arguscli_c7. It contains various settings for policies and servers that you'll have to adjust for your site. It's quite specific for Liverpool, and not fully parametrized. I should parametrize all the settings with Hiera, but I have not done so. I think it has one parameter for “argus_resource” but I don't know if it is useful or even logical!

### Install the extras
I put a lot of extras on the system. The module for this is arc_condor_common_c7. These consist of all manner of patches, scripts, files, dirs, etc. needed to get the system working. Look in the example build on SL6 and in the module itself to see what these things do.

# Building the worker-node
At this point, I assume you have configured a system similar to the worker node specification above, and that it is running the right version of Centos 7.

## Software Repositories

As well as the CentOS system repos etc, many other Yum software repositories are required to build this worker-node. Below I show the name, purpose and url of each repository file we used. Some of the repos (all?) are installed by the Puppet modules that I shall describe.

Yum repo file: CA.repo
Purpose: A local copy of the CAs (search up .)
baseurl=http://map2.ph.liv.ac.uk/yum/EGI-CAs/current

Yum repo file: condor_wn_c7.repo
Purpose: Condor
baseurl=http://map2.ph.liv.ac.uk/yum/pub/research.cs.wisc.edu/htcondor/yum/stable/rhel7

Yum repo file: cvmfs-config.repo
Purpose: cvmfs config
baseurl=http://cern.ch/cvmrepo/yum/cvmfs-config/EL/7/x86_64

Yum repo file: cvmfs.repo
Purpose: cvmfs
baseurl=http://cern.ch/cvmrepo/yum/cvmfs/EL/7/x86_64

Yum repo file: cvmfs-testing.repo
Purpose: Tests for cvmfs
baseurl=http://cern.ch/cvmrepo/yum/cvmfs-testing/EL/7/x86_64

Yum repo file: epel.repo
Purpose: A local copy of the famous “epel” repository (search up on Internet.)
baseurl=http://map2.ph.liv.ac.uk/yum/ONLINE/pub/epel/7/$basearch

Yum repo file: local.repo
Purpose: Contains a local copy of HEP_Oslibs.x86_64 (search up.)
baseurl=http://map2.ph.liv.ac.uk/yum/local/rhel/7/x86_64

Yum repo file: sysadmin.hep.ac.uk.repo
Purpose: A local copy of www.sysadmin.hep.ac.uk/rpms/fabric-management/RPMS.vomstools/
baseurl=http://map2.ph.liv.ac.uk/yum/pub/www.sysadmin.hep.ac.uk/rpms/fabric-management/RPMS.vomstools/

Yum repo file: yum_umd_4_centos7_x86_64_base.repo
Purpose: A local copy of UMD4 (search up .)
baseurl=http://map2.ph.liv.ac.uk//yum/umd/4/centos7/x86_64/base

Yum repo file: yum_umd_4_centos7_x86_64_updates.repo
Purpose: A local copy of UMD4 (search up .)
baseurl=http://map2.ph.liv.ac.uk//yum/umd/4/centos7/x86_64/updates

Yum repo file: wlcg_repository.repo
Purpose: Bits of Yaim used from this.
baseurl=http://linuxsoft.cern.ch/wlcg/sl6/x86_64/

## Build sequence
The build sequence is just a set of puppet modules, applied one after the other in any order you like.

### Make the grid users on the worker node

See how this is done for the head node. We use the exact same module, grid_users.

### Install cvmfs
Use the cvmfs module to install cvmfs. I think it came from Steve Traylen, Cern. There may be newer copies out there. Check it out if you have time.

### Make the runtime settings
The module for this is called arc_condor_runtime_c7. It installs a set of directories that ARC uses to simulate GLITE tag files, and sets some runtime shell variables for the job, e.g. the default SE and software area/cvmfs location for various VOs.

### Install condor on the worker nodetype
To install condor on the worker node, use condor_wn_c7. This is a very complicated module that implements most/all of the worker node build, as described in the SL6 Example Build[1]. You'll need to read it, break it down and figure out what you need to take from it.
You'll definitely need to generate your own pool_password (the same as the head-node), since the one in the module is just a dummy. See the Condor admin manual, or perhaps the example build[1]. Also is also an ssh key that you may or may need to insert. Search for SSHKEYHERE.
Also needed are certs for the apel server. I don't know if these are needed. There is a sudoers file in this as well, since in my set-up, condor uses root commands in a test system. You may not need that part.
Also included are settings for Condor control groups, a script to restart numad from time to time (it uses up more and more memory), a test script from cvmfs, some scripts, yum repos, a bunch of packages, patches, files, directories, config files, and all sorts of other stuff. Much of it is documented in the SL6 Example Build[1].
Parameters are used in the condor_config.local template file, namely <%= @central_manager %> and <%= @theCEs %>.
### Install the test script and system

The rationale for this little system is explained in the Example Build[1]. We use the testnodes module to install it. It is highly customised specifically for Liverpool, but it's there is you want to check how it works. Basically, if a node looks suspicious, it takes it off-line automatically using a Condor-based sort of cronjob.

# Testing the new cluster
A suite of test tools is made available under the github account. See the test directory after you checkout the github material.
# References
[1] Example Build of ARC Condor on SL6.
https://www.gridpp.ac.uk/wiki/Example_Build_of_an_ARC/Condor_Cluster

[2] Liverpool Puppet/Hiera Set-up (with some notes on C7)
https://www.gridpp.ac.uk/wiki/Centos7_Adoption